File Revision Date:

August 14, 2026

Data Set Description:

PI:	Matt Tully

Instrument:	Dobson

Site(s):	Melbourne, Bureau of Meteorology

Measurement Quantities:	Total column ozone

Contact Information:

Name:	Dr Matt Tully

Address:	Bureau of Meteorology

GPO Box 1289

Melbourne, Victoria 3001

Australia

Phone:	+61 (0)3 9669 4139

FAX:	+61 (0)3 9669 4736

Email:	Matt.Tully@bom.gov.au

Licence

CC-By-SA 4.0

DOI

Not at present time

Reference Articles:

"Operations handbook - ozone observations with a Dobson spectrophotometer", W.D. Komhyr, Global Ozone Research and Monitoring Project. Report 6, World Meteorological Organization, Geneva, 1980.

Instrument Description:

Dobson Ozone Spectrophotometer numbers 105, 111 and 115

Dobson #115 was partially automated in 2010 using the JMA hardware and software system

Algorithm Description:

Uses algorithm set out in "Operations handbook - ozone observations with a Dobson spectrophotometer", W.D. Komhyr, Global Ozone Research and Monitoring Project. Report 6, World Meteorological Organisation, Geneva, 1980.

Uses Bass/Paur (1992) ozone absorption coefficients.

Expected Precision/Accuracy of Instrument:

"Review of the Dobson spectrophotometer and its accuracy", Reid E. Basher, Global Ozone Research and Monitoring Project. Report 13, World Meteorological Organisation, Geneva,1982.

Instrument History:

Aspendale

1 Mar 1972 - 17 Jul 1977:	Dobson #105

6 Jul 1977 - 28 Feb 1978:	Dobson #111

22 Feb 1978 - 4 Jan 1983:	Dobson #105

Melbourne

11 May 1983 - 29 Jul 1998:	Dobson #105

29 Jul 1998 - 21 Feb 2000:	Dobson #115

21 Feb 2000 - 14 Nov 2001:	Dobson #105

15 Nov 2001 - 22 Mar 2010:	Dobson #115

22 Mar 2010 -  9 Jul 2013:	Dobson #111

4 July 2013 -  27 Nov 2025 :	Dobson #115

(Program ended)

Dobson #105 was referenced against the World Standard in 1972, 1977, 1984, 1988, 1992, 1997, 2001

Dobson #111 was referenced against the Regional Standard in 2010, 2013 and 2021

Dobson #115 was referenced against the Regional Standard in 1998, 2000, 2001, 2002, 2004, 2010, 2012, 2018